## Slide 1: EIE 2001 Basic Circuit Theory
Lecture 8
Part II. Mutual Inductance

## Slide 2: This lecture discusses mutual inductance circuits and their applications
Primary circuit and secondary circuit

## Slide 3
Transformers

## Slide 4: The magnetic coupling
For coil 1: ，
For coil 2: ，
N1 turns
N2 turns
The magnetic flux at coil 1 equals to the magnetic flux created by its own current i1 plus the magnetic flux emanating from coil 2 in proximity from current i2.

## Slide 5: The magnetic coupling: Mutual inductance
For coil 1:
For coil 2:
(positive if i2 enters to the dot)
(positive if i1 enters to the dot)
Caution: The polarity is determined by the orientation or the particular way in which both coils are physically wound.
The dot convention in circuit analysis is a convenience notation to identify the polarity.
M12 = M21 = M in our case

## Slide 6
The dot convention

## Slide 7: With Mutual Inductance

## Slide 8: Coupling Coefficient
The mutual inductance can be related to self-inductances by using coupling coefficient k.
The coupling coefficient has a range of
It is determined by the physical configuration of the coils.

## Slide 9: Energy Calculations
The energy stores in an inductor is:
For coupled inductors, the total energy stored depends on the individual inductance and on the mutual inductance as well
The positive sign is selected when the currents both enter or leave the dotted terminals.

## Slide 10: Equivalent circuits using phasors

## Slide 11: Example: Calculate the phasor currents I1 and I2 in the circuit

## Slide 12: Example
(a) Determine the coupling coefficient
(b) Calculate the energy stored in the coupled inductors at t = 1 s

## Slide 14: Linear Transformers as an application of mutual inductance to deliver power to a secondary circuit
A transformer is a magnetic device that takes advantage of mutual inductance
  Generally a four terminal device comprised of two or more magnetically coupled coils.
  They are called linear if the coils are wound on a magnetically linear material.
Primary Winding
Secondary Winding

## Slide 15: Transformer Analysis
Using these two equations, we can solve I1 and I2.
The input impedance is calculated as
where
This is known as the reflected impedance, showing how the secondary winding impacts the input impedance of the circuit of primary winding

## Slide 16: Ideal Transformers
An ideal transformer is one with perfect coupling (k=1).
It has two or more windings with a large number of turns on a core of high permeability.
The ideal transformer has:
Coils with very large reactance (L1, L2, M →)
Coupling coefficient is equal to unity.
Primary and secondary coils are lossless (R1=R2→0)

## Slide 17: Ideal Transformers
Iron core transformers are close to ideal.
The same flux goes through both windings
The voltages are related to each other by the turns ration n:
where 1, 2 refers to the primary, secondary coil.
A step down transformer (n<1) is one whose secondary voltage is less than its primary voltage
A step up (n>1) is the opposite
From power conservation,
Circuit symbol of an iron core transformer

## Slide 18: Ideal Transformers
In phasor form,
Note the direction of currents relative to the dots.
It is important to get the proper polarity of the voltages and direction of currents in different configurations.
  If V1 and V2 are both positive or both negative at the dotted terminals, the V2 to V1 ratio is +n. Otherwise, it is –n.
  If I1and I2 both enter into or both leave the dotted terminals, the I2 to I1 ratio is –1/n. Otherwise, it is +1/n
Notes: All the polarities are to ensure that the “consumed” power at the primary coil is exactly the “consumed” power at the load.

## Slide 19: Ideal Transformers
The complex power in the primary winding is:
There is no loss for the ideal transformer.
The input impedance that appears at the source is:
This is also called the reflected impedance since it appears as if the load impedance is reflected to the primary side.
This ability of the transformer to transform a given impedance into another impedance provides us a means of impedance matching to ensure maximum power transfer.

## Slide 20: Application: power line systems
Q: Why 3 wires?

## Slide 21: Three-Phase System
Nearly all electric power is generated and distributed in three-phase, at the operating frequency of 60 Hz in the United States or 50 Hz in some other parts of the world.
It is important in power system specialization but impossible to cover in one or two lecture sessions.
Here, we will only give an understanding of the steady-state sinusoidal behavior of balanced three-phase circuits.
Notes: 3 phase gives very good all-round compromise between power transmission (adding 50% extra wiring gives 200% extra power) and complexity. Another phase adds little benefit; it's still not as smooth as DC, and not much extra power.

## Slide 22: Three-Phase AC Generator

## Slide 23: Balanced Source
A set of balanced three-phase voltages consists of three sinusoidal voltages that have identical amplitudes and frequencies but are out of phase with each other; by exactly Standard practice we refer to the three phases as a, b, and c, and use the a-phase as the reference phase. The three voltages are referred to as the a-phase voltage, the b-phase voltage, and the c-phase voltage.

## Slide 24: Two Basic Connections of Ideal Three-Phase Source: Y-connection and Δ-connection
Y-Connected Source
Δ-Connected Source
+
-
+
-

## Slide 25: Balanced Loads
Similar to the source, a balanced load is one that has the same impedance presented to all three voltage sources. They may also be connected in either Delta or wye
The wye delta loads can be interchanged using or

## Slide 26: Balanced Three-Phase Voltages

## Slide 27: Balanced Y-Y Connection
Any three-phase system can be reduced to an equivalent Y-Y system.
We will consider an example of a balanced four wire Y-Y system shown here.
The load impedances Zy will be assumed to be balanced.
  This can be the source 𝑍𝑠 , line 𝑍𝑙 and load 𝑍𝐿 together.

## Slide 28: Line-to-Line Voltage
Using the positive sequence for example
The line-to-line voltage (or line voltage for short):
Thus the magnitude of the line voltages VL is

## Slide 29: Line Currents
If we apply KVL to each phase, the line currents can be obtained:
Since they share the same magnitude but phase differences between each other, the line currents add up to zero.
Thus, the neutral wire has zero voltage and no current.

## Slide 30: Y-Y Circuit Per Phase Analysis
An alternative way to analyze the Y-Y circuit is to look at each phase individually. Taking Phase a for example, the equivalent circuit for that phase is shown here.
The current for this phase is:
Since the circuit is balanced, only one phase need to be analyzed.

## Slide 31
For the other configurations, we can always convert the source and load back to a Y-Y system.
Summary of Phase and Line Voltages/Currents for Balanced Three-Phase Systems

## Slide 33: Expected learning outcome
Be able to analyze simple two part circuits coupled by mutual inductance
  Be able to formulate KVL equations for loops involving mutual inductance
  Be able to construct equivalent circuits (inductor + dependent source) to capture the effect of mutual inductance (using both time domain representation and phasor representation
Be able to calculate voltage and current conversions for ideal transformer
Understand the basic concepts of three-phase circuits
  Be able to use the balanced load and balance source concept to analyze the voltage and current in different phases.